### Appendix V

Recommended List of

# Fittings and Finishes

# EXTERIOR

External Walls

The type of external finishes

Windows

The material of the frames and glass

Bay Windows

The material and windowsill finishes of the bay windows

Planter

The type of finishes of the planters

Verandah/Balcony

The type of finishes and whether the verandah/balcony is covered or not

Drying Facilities for Clothing

The type and material of the drying facilities for clothing

INTERIOR FINISHES

Lobbies

The type of wall, floor and ceiling finishes in the lobbies

Internal Walls and Ceilings

The type of bedroom and living/dining room wall and ceiling finishes

Floors

The material of the floor and skirting of the bedrooms and the living/dining rooms

Bathroom

The type of wall, floor, and ceiling finishes and whether the wall finishes run up to the ceiling

Kitchen

The type of wall, floor, ceiling, and cooking bench finishes and whether the wall finishes run up to the ceiling

INTERIOR FITTINGS

Doors

The material, finishes and accessories of the doors (especially the entrance door to each individual unit)

Bathroom

The type and material of the fittings and equipment in the bathroom; the water supply system; bathing facilities i.e. shower or bath tub and size of bath tub if applicable

Kitchen

The material of the sink unit; the water supply system; the material and finishes of the kitchen cabinets; the type of all other fittings and equipment in the kitchen

Bedroom

The type and material of all the fittings (such as wardrobes) in the bedroom

Telephone and Aerials

The locations and number of such utilities

Electricity

Details of the fittings including safety devices, concealed or exposed conduits, the location and number of power points, sockets, air-conditioner points etc.

Gas/Electricity Supply

The type, system and location of the gas/electricity supply

Washing Machine Connection Point

The location and design of the washing machine connection point

Water Supply and Pipes

The material of the water pipes, whether they are concealed or exposed and whether hot water is available etc.

## SECURITY FACILITIES

A description of security services including details of all built-in provisions and their locations

## MISCELLANEOUS

Lifts

The country of origin/brand name of the lifts and whether the lifts serve all floors

Letter Box

The letter box material

Refuse Collection

The means of refuse collection, location of refuse room etc.

Water/Electricity/Gas Meters

The location of the meters and whether there are separate or communal meters of individual apartments

Note:

If the country of origin/brand name is mentioned, the developer must undertake that materials of comparable quality will be used if the intended source becomes unavailable.